## Slide 1: Asepsis and Antisepsis
Assistant prof. Nenad Marković MD, PhD, Abdominal Surgeon

## Slide 2: Asepsis
Implementation of procedures and measures that completely destroy all microorganisms on materials that come into contact with the patient during surgical procedures.
An absolute concept of the absence of all microorganisms in all their forms.
Has a preventive significance as aseptic methods prevent the entry of microorganisms into the patient's body.
The method of asepsis is sterilization.

## Slide 3
Historical Background
Semmelweis, a gynecologist (1818 – 1865): handwashing with soap reduces mortality.
Pasteur, a chemist (1822 – 1895): asepsis in surgery, in 1874, boiling instruments in pressurized steam.
Lister, a surgeon (1827 – 1912): antisepsis, carbolic acid for hands, surgical materials, and wounds.
Mortality before Pasteur's time: 45 – 50%.

## Slide 4: Asepsis
Asepsis was introduced as mandatory at the 10th Congress of Surgeons in Berlin in 1890, cited by Bergman, Schiemelbusch, and Lister.
Asepsis excludes antisepsis, and vice versa.
Consensus - both principles complement each other in the fight against infection.
Particular importance in wartime surgery.

## Slide 5: Sterilization
The process of complete destruction of all microorganisms,
Destruction of all their forms (vegetative, spore),
It is an absolute concept, and there are no degrees of sterilization.
Used for surgical instruments, materials, and objects that come into contact with the patient during surgical procedures.
Achieved through physical methods such as: Heat, Gamma rays, Gases.

## Slide 6: 1. Heat (moist or dry)
I Cooking
II Saturated steam under pressure
III Hot dry air
IV Flame

## Slide 7: I Cooking
Boiling water
Conditional sterilization (for hepatitis viruses!!!)
Dipping surgical instruments in special containers with a heater
Higher boiling temperature - more effective sterilization
Duration of at least 15 minutes from the moment of boiling Septic material requires at least 30 minutes
Metal surgical instruments, linen threads, glass syringes, rubber items
Can be improvised in household conditions.

## Slide 8: II Saturated steam under pressure
Autoclave (external and portable)
Double bottom with heaters that heat the water, with a grid above where the material to be sterilized is placed.
130 to 142 degrees Celsius, the boiling point of water 2 to 3 atmospheres of pressure of water vapor 30 minutes from reaching high temperature
Drying lasts 10 to 15 minutes at 1.5 atmospheres
Schimmelbusch drums Bandages, surgical clothing, surgical instruments Sterilization control

## Slide 9: Autoclave

## Slide 10: Sterilization control
Physical Control - monitoring the achieved temperature (thermometer), checking the achieved pressure (manometer), duration.
Chemical Control - using various chemical substances that change their properties or transition from one physical state to another at high temperatures, or change color: Iodoform, picric acid Mikulić's paper (changes from brown to white)
Biological Control - monitoring the survival of spores after sterilization: Bacterial cultures of resistant bacteria
B. subtilis
B. stearothermophilus

## Slide 11: III Hot dry air
Dry sterilizers
Temperature 180 to 200 degrees Celsius 1 hour
Metal instruments
Destroys hepatitis virus
Potential damage to metal instruments
Can be improvised

## Slide 12: Dry sterilizers

## Slide 13: IV Flame
The fastest and easiest method
550 degrees Celsius
Instantly destroys all microorganisms
Used in improvised conditions

## Slide 14: 2. Gas sterilization
Application of gas mixtures
Cold sterilization
Ethylene oxide (10 to 20%) and carbon dioxide (80 to 90%)
Non-flammable, non-explosive, non-toxic
Special conditions (airless chambers, temperature and humidity control, special autoclaves) 3 to 4 hours
Sensitive optical instruments, plastic parts, pacemakers, vascular grafts, implantation materials

## Slide 15: 3. Gamma ray sterilization
Ionizing Radiation
γ-rays have high energy and penetrating power,
leading to nonspecific ionization of molecules and damaging DNA/RNA in two ways:
Directly (disrupting DNA replication by breaking sugar-phosphate bonds)
Indirectly (radiolysis of H2O and interaction of H+ and OH- radicals with DNA)
Pharmaceutical industry Plastic needles, syringes, threads, infusion systems, catheters, drains, probes

## Slide 16: Antisepsis
Antisepsis is a set of procedures and measures used to destroy microorganisms or weaken their virulence.
It's a relative concept with prolonged action and therapeutic methods.
Antisepsis is achieved through disinfection methods, which can include chemical agents and biological agents.

## Slide 17
Antisepsis acts on pathogenic,
conditionally pathogenic, and non-pathogenic bacteria.
There are three levels of disinfection: high, intermediate, and low.
Microorganism resistance varies:
Spores (most resistant)
Mycobacteria
Enveloped viruses
Fungi
Vegetative forms of bacteria
Non-enveloped viruses (least resistant)

## Slide 18
Factors affecting effectiveness:
Nature of the object
Type and concentration of the disinfectant
Duration of exposure
Temperature
Presence of organic matter
Type and number of microorganisms

## Slide 19: Disinfection
Chemical agents
Disinfectants (used for disinfecting inanimate objects) – bactericides
Antiseptics (used for disinfecting skin, mucous membranes, and tissues) – bacteriostatics
Physical-chemical action (osmosis, dehydration, absorption, protein precipitation, acidity change)
Protein denaturation (coagulation and precipitation)
Disruption of the integrity of the cell wall and cell membrane
Interaction with reactive enzyme groups (SH, COOH, NH2)

## Slide 20: Povidone-iodine
Povidone-iodine contains active iodine in an organic form.
It acts as a bactericide.
Preparation of the surgical field.
Preparation of the surgeon's hands.
Rinsing wounds.
Allergy to iodine.

## Slide 21: Hydrogen peroxide (H2O2)
A 3% solution for rinsing wounds
Generates nascent O2 - chemical action
Foams and cleans the wound - mechanical action
Creates aerobic conditions and prevents the development of anaerobic infections
Risk of air embolism!

## Slide 22: Rivanol
Acridine dye
1% solution
Rinsing infected wounds
Slows down wound healing

## Slide 23: Alcohol
Disinfection of the skin (70% alcohol)

## Slide 24: Boric acid
A 3%
boric acid solution is used in various medical fields,
including urology,
ophthalmology,
and otorhinolaryngology for specific applications such as cleaning and disinfection.
Boric acid

## Slide 25: Formalin
A solution of formaldehyde gas in water
In the form of tablets
Disinfection of instruments that cannot be boiled
Catheters
Optical instruments
Tubes

## Slide 26: Medical benzene
The removal of fats and impurities from the skin and the area around wounds
Not an antiseptic
Contraindicated on the facial and neck skin

## Slide 27: Biological agents
Antibiotics
Systemic use Parenteral or oral administration
Vaccines - active immunization
Serums - passive immunization

## Slide 28: The preparation of a surgeon's hands
Before every surgical procedure,
Previously, povidone-iodine was used.
Modern antiseptics that work quickly and effectively.
Washing fingers, hands, palms, forearms, all the way up to the elbows.
2+3 minutes
After washing and disinfection, gloves are put on.

## Slide 31: The preparation of the surgical field
A day before, the patient's bathing and shaving (for the surgical field).
On the operating table, cleaning the area with antiseptics, surrounding the field with sterile compresses or sterile drapes.
Preparation of the operating room:
Ultraviolet lamps turned on when the room is not in use.
Cleaning the walls and lamps with antiseptics.
Staff wearing sterile clothing, caps, and masks.
Special communication procedures with other departments (laundry input, patient imports and exports).